# Dht11

Relative humidity
- Resolution: 16Bit;
- Repeatability: ±1% RH;
- Accuracy: At 25°C ±5% RH;
- Interchangeability: fully interchangeable;
- Response time: 1 / e (63%) of 25℃ 6s;
- 1m / s air 6s;
- Hysteresis: < ± 0.3% RH;
- Long-term stability: ± 0.5% RH / yr in;
Electrical Characteristics
- Power supply: DC 3.5 - 5.5V;
- Supply Current: measurement 0.3mA standby 60μ A;
- Sampling period: more than 2 seconds;